## General
REF : PSY-GR-002 | REF : PSY-GR-005 | ໃບສະເໜີລາຄາ/Request for quotation
|  | ສະເໜີລາຄາເພື່ອ/RQT for: |  | Comite de Cooperation avec le Laos (CCL)
ຊື່ຜູ້ສະໜອງ/Supplier Name:
ທີ່ຢູ່ຜູ້ສະໜອງ/Supplier Address & Contact Number:
ສັນຊາດຜູ້ສະໜອງ/Supplier Nationality:
|  | ລ/ດ NO. | ລາຍລະອຽດ ITEM DESCRIPTION - Yapoung |  | ລວມມູນຄ່າ TT Cost
|  | 1 | Concrete infrastructures |  | 0
|  | 2 | Filtration & waterproofing |  | 0
|  | 3 | Hydraulic accessories & fittings - Stainless, brass & GSP |  | 0
|  | 4 | Hydraulic accessories & fittings - HDPE |  | 0
|  | 5 | Hydraulic accessories & fittings - DI / cast iron & water neters |  | 0
|  | 5" | Water meters - Village contribution |  | 0
|  | 6 | Hydraulic accessories & fittings - PVC |  | 0
|  | 7 | Pipes (GSP, HDPE, PVC) |  | 0
|  | 8 | Technician tools |  | 0
|  | 9 | Transport |  | 0
|  |  | ລວມຍ່ອຍ/SUB TOTAL: |  | 0
ສ່ວນຫຼຸດ/DISCOUNTS OFFERED:
|  |  | ລວມຍອດ/NET AMOUNT: |  | 0
ກໍານົດໄລຍະເວລາຂອງໃບສະເໜີລາຄາ/Quotation Validity Period:
ຄວາມພ້ອມຂອງສິນຄ້າ/Product Availability(Yes/No):
ເງື່ອນໄຂການຊໍາລະ/Credit Terms:
ເງື່ອນໄຂການນຳສົ່ງ/Delivery Terms:
ການຄ້ຳປະກັນ ແລະ ໄລຍະການບຳລຸງຮັກສາ/Warranty & Maintenance Period:
ສິນຄ້າຈາກປະເທດ/Country(ies) of manufacture:
ແຈ້ງຕໍ່ກັບການຕໍ່ຕ້ານການສໍ້ໂກງ/ANTI CORRUPTION NOTICE
ບໍ່ວ່າຢູ່ໃນກໍລະນີໃດກໍ່ຕາມ, ຈະບໍ່ມີການໃຫ້ ຫຼື ອະນຸຍາດໃຫ້ມີການຈ່າຍຄ່ານາຍໜ້າ ຫຼື ການຈ່າຍທົດແທນຄືນໃຫ້ພະນັກງານອົງການ CCL ໂດຍທີ່ບໍ່ເປີດເຜີຍ, ບໍ່ມີການໃຫ້ຂອງຂວັນ, ລາງວັນ ຫຼື ຄ່າຕອບແທນ ຫຼື ທຸກຮູບແບບແກ່ພະນັກງານ CCL ເຊີ່ງມີຜົນມາຈາກການຂໍສະເໜີລາຄານີ້ /Under no circumstances, commission or undisclosed rebates payment to CCL staff are to be made or authorized. No gift, gratuity or remuneration of any kind shall be made to any CCL staff as a result of this request.
|  | Location, Date: | Vientiane, …......................
ເຊັນ ແລະ ຈໍ້າການຜູ້ສະໜອງ/Signature and Stamp of supplier

## B.Noy_UPL
Description | Dimension / diameter / Description | Unit | Spring catchment repair (Ban Noy 1) | Spring catchment (ban noy 2 ) | Upper Water tank 4.6 x 3.4 x 2.4 (Ban Noy 1) | Water supply - Ban Noy 1 | Water supply - Ban Noy 2 | Total quantity | Unit price (₭) - estimate | Sub-total (₭) | Additional information
1 - Concrete infrastructures
Nail ເຫຼັກຕາປູ | 5 cm length | Kg |  | 2 | 25 |  |  | 27 |  | 0 | additional small nails if required
Nail ເຫຼັກຕາປູ | 8 cm length | Kg |  | 7 | 35 |  |  | 42 |  | 0 | Assembling planks and beams - Assemblage des planches et poutrelles
Nail ເຫຼັກຕາປູ | 10 cm length | Kg |  | 2 | 25 |  |  | 27 |  | 0 | Assembling planks and beams - Assemblage des planches et poutrelles
Steel wire mesh | #1mm | m |  |  | 2 |  |  | 2 |  | 0
Reinforced Plastic wire mesh | #1mm | m² |  | 2 | 9 |  |  | 11 |  | 0
Stainless (No galvanized) steel grid - To build on size here | Ø10 mm - 5 cm thick x 60 xcm high x 40 cm wide | Pce |  | 1 |  |  |  | 1 |  | 0
Concrete Blocks | 20x20x40 cm | Pce |  |  | 4 |  |  | 4 |  | 0 | Ventilation openings in concrete
Stirrups steel wire - fil a ligaturer - ລວດມັດ | Ø1 mm | Kg |  | 10 | 42 |  |  | 52 |  | 0
Concrete steel bar (10m) ເຫຼັກປອກ (10m) | Ø 6 mm | Line |  | 12 | 70 |  |  | 82 |  | 0 | Additional reinforcement for the construction of valve chambers in the village and concrete covers
Concrete steel bar (10m) ເຫຼັກປອກ (10m) | Ø 8 mm | Line | 20 | 30 | 135 |  |  | 185 |  | 0
Concrete steel bar (10m) ເຫຼັກປອກ (10m) | Ø 10 mm | Line |  | 30 | 105 |  |  | 135 |  | 0
Concrete steel bar (10m) ເຫຼັກປອກ (10m) | Ø 12 mm | Line |  |  | 55 |  |  | 55 |  | 0 | Reinforcement of concrete slab - double layer - Feraillage de la dalle en double couche
Portland ciment - bag ຊີມັງປອດແລນ (ກະທິງແດງ)-ຖົງ |  | 50 kg (bag) | 30 | 35 | 142 |  |  | 207 |  | 0 | Dosage at 350 kg/m³ - Dosage à 350 kg/m³
Mass water repellant ຊີມັງກັນຊືມ |  | Liter | 6 | 7 | 50 |  |  | 63 |  | 0 | additive to concrete to reinforce waterproofing (2,5 l per cube meter of cement)
Formwork boards/ໄມ້ແປ້ນ | 2 cm (Thickness) * 10 cm (W) * 400 cm (L) | Pce | [5 empty] | 0 | VILLAGE CONTRIBUTION |  | For formwork roof - coffrage du toit (evite les decoupes)
Formwork boards/ໄມ້ແປ້ນ | 2 cm (Thickness) * 20 cm (W) * 400 cm (L) | Pce |  | 40 | 130 |  |  | 170 | VILLAGE CONTRIBUTION |  | For formwork roof - coffrage du toit (evite les decoupes)
Formwork boards/ໄມ້ແປ້ນ | 2 cm (Thickness) * 20 cm (W) * 500 cm (L) | Pce |  |  | 50 |  |  | 50 | VILLAGE CONTRIBUTION |  | For formwork walls and fondations
Wood beam - Poutrelles en bois | 4 cm x 8 cm x 400 cm | m |  |  | 50 |  |  | 50 | VILLAGE CONTRIBUTION |  | Renforcement du coffrage des murs (raidisseur verticaux)
Sand for concrete 0/4 ຊາຍ |  | m³ | 2 | 3 | 10 |  |  | 15 |  | 0 | For concrete and grout (beton et mortier de scellement)
Gravel 5/15 ແຮ່ |  | m³ | 4 | 5 | 19 |  |  | 28 |  | 0 | Standard aggregate for concrete
TOTAL | [8 empty] | 0
2 - Filtration & waterproofing
Description | Dimension / diameter / Description | Unit | Spring catchment repair (Ban Noy 1) | Spring catchment (ban noy 2 ) | Upper Water tank 4.6 x 3.4 x 2.4 | Water supply - Ban Noy 1 | Water supply - Ban Noy 2 | Total quantity | Unit price (₭) - estimate | Sub-total (₭) | Additional information
Washed Coarse gravel | 20/40 mm | m³ |  | 0.2 |  |  |  | 0.2 |  | 0 | Drainage layer - couche de drainage
Washed Fine gravel | 5 / 15 mm | m³ |  | 0.2 | 1 |  |  | 1.2 |  | 0 | Intermediate layer - couche intermediaire
Washed filtration sand 0/2 mm | 0/2 mm | m³ |  |  | 1 |  |  | 1 |  | 0 | Final filtration - filtration finale
Hydro-expansive joint |  | m |  | 12 | 25 |  |  | 37 |  | 0 | Structural breakaway joint - joint de rupture structurelle, assure etencheite entre bloc 1 et 2 et plus generalement sur l'ensemble de la structure
Teflon roll |  | Roll |  | 15 | 30 | 100 | 30 | 175 |  | 0 | Teflon for sealing connections between HDPE and PVC parts - Teflon pour raccord d'etencheite des pieces en PEHD et PVC + spare parts for VMC
TOTAL | [8 empty] | 0
3 - Hydraulic accessories & fittings - Stainless, brass & GSP
Description | Dimension / diameter / Description | Unit | Spring catchment repair (Ban Noy 1) | Spring catchment (ban noy 2 ) | Upper Water tank 4.6 x 3.4 x 2.4 | Water supply - Ban Noy 1 | Water supply - Ban Noy 2 | Total quantity | Unit price (₭) | Sub-total (₭) | Additional information
45º GS Elbow | 1.1/4" | Pce |  |  | 2 |  |  | 2 |  | 0
45º GS Elbow | 2" | Pce |  | 2 | 12 |  |  | 14 |  | 0
90º GS Elbow | 2" | Pce |  | 2 | 2 |  |  | 4 |  | 0
GS reduction - female | 1"x1/2" | Pce |  |  |  | 2 |  | 2 |  | 0
GS reduction - female | 2"x1.1/4" | Pce |  |  | 1 |  |  | 1 |  | 0
GS reduction - female | 2"x1" | Pce |  | 1 | 3 |  |  | 4 |  | 0
GS tee | 2"/2"/2" | Pce |  | 3 | 8 |  |  | 11 |  | 0
GS nipple | 1" | Pce |  | 2 | 5 | 2 |  | 9 |  | 0
GS nipple | 1.1/4" | Pce |  | 2 | 2 |  |  | 4 |  | 0
GS nipple | 2" | Pce |  | 6 | 29 | 2 | 4 | 41 |  | 0
GS nipple | 4" | Pce |  | 2 |  |  |  | 2 |  | 0
GS union | 1.1/4" | Pce |  | 2 |  |  |  | 2 |  | 0
GS union | 2" | Pce |  | 1 | 17 | 2 | 4 | 24 |  | 0
GS socket | 1.1/2 | Pce |  |  |  | 2 |  | 2 |  | 0
GS socket | 2" | Pce |  | 2 | 4 |  |  | 6 |  | 0
GS brass valve | 1" | Pce |  |  | 3 | 2 |  | 5 |  | 0
GS gate valve | 1.1/4" | Pce |  | 1 | 1 |  |  | 2 |  | 0
GS gate valve | 2" | Pce |  | 1 | 8 | 1 | 2 | 12 |  | 0
GS gate valve | 4" | Pce |  | 1 |  |  |  | 1 |  | 0
Brass air valve | 1" | Pce |  | 1 | 3 | 2 |  | 6 |  | 0
Brass strainer | 1.1/4" | Pce |  |  | 1 |  |  | 1 |  | 0
Brass strainer | 2" | Pce |  | 1 | 2 |  |  | 3 |  | 0
Steel fastener for pipes | 2" | Pce |  |  |  | 20 |  | 20 |  | 0
TOTAL | [8 empty] | 0
4 - Hydraulic accessories & fittings - HDPE
Description | Dimension / diameter / Description | Unit | Spring catchment repair (Ban Noy 1) | Spring catchment (ban noy 2 ) | Upper Water tank 4.6 x 3.4 x 2.4 | Water supply - Ban Noy 1 | Water supply - Ban Noy 2 | Total quantity | Unit price (₭) | Sub-total (₭) | Additional information
Elbow 90 | Ø50 mm | Pce |  | 2 | 4 |  |  | 6 |  | 0
Elbow 90 | Ø63 mm | Pce |  |  | 8 |  |  | 8 |  | 0
Compression to male elbow 90 | Ø63 mm x 2" | Pce |  |  | 1 |  |  | 1 |  | 0
Male adapter | Ø20 mm x 1/2" | Pce |  |  |  | 90 |  | 90 |  | 0
Male adapter | Ø32 x 1.1/4" | Pce |  | 2 | 1 |  |  | 3 |  | 0
Male adapter | Ø50 mm x 2" | Pce |  | 1 | 1 | 2 | 4 | 8 |  | 0
Male adapter | Ø63 mm x 2" | Pce |  |  | 2 |  |  | 2 |  | 0
Female adapter | Ø50 mm x 1.1/2" | Pce |  |  |  | 2 |  | 2 |  | 0
Threaded male tee | Ø50 mm x 1.1 2" x Ø50 mm | Pce |  |  |  | 2 |  | 2 |  | 0
Threaded male tee | Ø63 mm x 2" x Ø63 mm | Pce |  |  | 2 |  |  | 2 |  | 0
compression coupling | Ø 32 / 32 mm | Pce |  |  |  | 2 | 25 | 27 |  | 0
compression coupling | Ø 50 / 50 mm | Pce |  |  |  | 35 | 30 | 65 |  | 0
coupling reduction | Ø 50 / 32 mm | Pce |  | 1 |  |  |  | 1 |  | 0
coupling reduction | Ø 32/20 mm | Pce |  |  |  |  | 6 | 6 |  | 0
Clamp saddle | Ø32 x 1/2" | Pce |  |  |  | 10 |  | 10 |  | 0 | Connection of HDPE 20 pipes to the main pipes of the network (32, 50, and 63) - Raccord des canalisation PEHD 20 sur les canalisations principales du reseau (32, 50 et 63)
Clamp saddle | Ø50 x 1/2" | Pce |  |  |  | 40 |  | 40 |  | 0
Compression reduction tee | Ø32/Ø20/Ø32 | Pce |  |  |  |  | 6 | 6 |  | 0
Compression tee | Ø50/Ø50/Ø50 | Pce |  | 2 |  | 5 |  | 7 |  | 0
Compression tee | Ø32/Ø32/Ø32 | Pce |  |  |  | 3 |  | 3 |  | 0
Compression tee | Ø20/Ø20/Ø20 | Pce |  |  |  | 12 |  | 12 |  | 0
End cap | Ø32 | Pce |  |  |  | 2 |  | 2 |  | 0
End cap | Ø50 | Pce |  |  |  | 4 |  | 4 |  | 0
TOTAL | [8 empty] | 0
5 - Hydraulic accessories & fittings - DI / cast iron & water neters
Description | Dimension / diameter / Description | Unit | Spring catchment repair (Ban Noy 1) | Spring catchment (ban noy 2 ) | Upper Water tank 4.6 x 3.4 x 2.4 | Water supply - Ban Noy 1 | Water supply - Ban Noy 2 | Total quantity | Unit price (₭) | Sub-total (₭) | Additional information
Water meter cast iron body - class B - village contribution | 1/2'' - Ø 15/21 mm | Pce |  |  |  | 30 |  | 30 |  | 0 | Good standard water meter quality, class B, cast iron body - Threaded male
Water meter cast iron body - class B - Project | 1/2'' - Ø 15/21 mm | Pce |  |  |  | 5 |  | 5 |  | 0 | Good standard water meter quality, class B, cast iron body - Threaded male
Safety steel box with cover for water meters | Nampapa style - Laos | Pce |  |  |  | 35 |  | 35 |  | 0 | Steel box prefered than concrete to avoid any collapses during transportation
TOTAL | [8 empty] | 0
6 - Hydraulic accessories & fittings - PVC
Description | Dimension / diameter / Description | Unit | Spring catchment repair (Ban Noy 1) | Spring catchment (ban noy 2 ) | Upper Water tank 4.6 x 3.4 x 2.4 | Water supply - Ban Noy 1 | Water supply - Ban Noy 2 | Total quantity | Unit price (₭) | Sub-total (₭) | Additional information
90º PVC elbow | 1/2" | Pce |  |  |  | 165 |  | 165 |  | 0 | Water meter connection (4 elbows per connection)
90º PVC elbow | 2" | Pce |  | 16 | 2 |  |  | 18 |  | 0 | Outlet to drainage pipe
90º PVC elbow | 4" | Pce |  | 1 |  |  |  | 1 |  | 0
PVC tee | 2"/2"/2" | Pce |  | 5 | 3 |  |  | 8 |  | 0
90º PVC faucet elbow female | 1/2" | Pce |  |  |  | 95 |  | 95 |  | 0 | Fancy ball tap valve connection and HDPE male connector
PVC Male adapter | 2" | Pce |  | 4 | 6 |  |  | 10 |  | 0
PVC Male adapter | 4" | Pce |  | 1 |  |  |  | 1 |  | 0
PVC Cap | 2" | Pce |  | 6 |  |  |  | 6 |  | 0
PVC Female adapter | 1/2" | Pce |  |  |  | 94 |  | 94 |  | 0 | 1/2" meter connection - raccord sur compteur 1/2"
PVC ball tap valve | 1/2" | Pce |  |  |  | 55 |  | 55 |  | 0 | Valve before water meter - vanne avant compteur
Fancy Ball tap valve (sanwa type) | 1/2" | Pce |  |  |  | 45 |  | 45 |  | 0
PVC Glue - ກາວພີວີຊີ | 250g | Pce |  | 5 | 5 |  | 1 | 11 |  | 0
TOTAL | [8 empty] | 0
7 - Pipes (GSP, HDPE, PVC)
Description | Dimension / diameter / Description | Unit | Spring catchment repair (Ban Noy 1) | Spring catchment (ban noy 2 ) | Upper Water tank 4.6 x 3.4 x 2.4 | Water supply - Ban Noy 1 | Water supply - Ban Noy 2 | Total quantity | Unit price (₭) | Sub-total (₭) | Additional information
GSP - Threaded male | 1.1/4" - Blue type | ml |  |  | 1 |  |  | 1 |  | 0
GSP - Threaded male | 1.1/2" - Blue type | ml |  |  |  | 12 |  | 12 |  | 0 | 2 x 6 meters bar here
GSP - Threaded male | 2" - Blue type | ml |  | 2 | 17 |  |  | 19 |  | 0 | Cutting and male threading to be carried out before the material is shipped. See details in the following tab
PVC pipe | 1/2 " - PN 13.5 | ml |  |  |  | 350 |  | 350 |  | 0 | 10 meters of PVC pipe per household for meter connection after HDPE 20 piping - 4 metres de tuyau PVC par famille pour raccordement compteur apres canalisation en PEHD 20
PVC pipe | 1.1/2" - PN 13.5 | ml |  | 10 | 12 |  |  | 22 |  | 0 | PVC pipes inserted into filter floor
PVC pipe | 2"- PN 13.5 | ml |  | 20 | 30 |  |  | 50 |  | 0
PVC pipe | 3" - PN 13,5 | ml |  |  | 2 |  |  | 2 |  | 0
PVC pipe | 4" - PN 13,5 | ml |  | 4 |  |  |  | 4 |  | 0
HDPE pipe | Ø20mm - PN 16 | ml |  |  |  | 1050 |  | 1050 |  | 0 | 30 meters per household. High average for connecting households from the main pipes.
HDPE pipe | Ø32mm - PN 10 | ml |  |  |  |  | 300 | 300 |  | 0
HDPE pipe | Ø50 mm - PN 8 | ml |  |  |  | 600 | 300 | 900 |  | 0
HDPE pipe | Ø63 mm - PN 8 | ml |  |  | 100 |  |  | 100 |  | 0
TOTAL | [8 empty] | 0
8 - Technicians tools - reusable
Description | Dimension / diameter / Description | Unit |  | Total quantity |  |  |  |  | Unit price (₭) | Sub-total (₭) | Additional information
Blade for hack saw ໃບເລື່ອຍຕັດເຫຼັກ (saw blades for steel/stainless steel) |  | Pce |  | 15 | [5 empty] | 0
Plastic hose ສາຍໂຕໂຢຈັບລະດັບ |  | m |  | 10 | [5 empty] | 0
File for saw blades ເຫຼັກສະໄບນ້ອຍ ( ສາມຫຼ່ຽມ) |  | Pce |  | 2 | [5 empty] | 0
Measuring tape - 50m ແມັດເທັບ |  | Pce |  | 1 | [5 empty] | 0
Measuring tape - 5m ແມັດເທັບ |  | Pce |  | 2 | [5 empty] | 0
Concrete chisel |  | Pce |  | 2 | [5 empty] | 0
Wrench pipe no 18" ກຸນແຈປາກແຂ້ 18" |  | Pce |  | 1 | [5 empty] | 0
Wrench pipe no 24" ກຸນແຈປາກແຂ້ 24" |  | Pce |  | 1 | [5 empty] | 0
Twist drill 5 mm |  | Pce |  | 2 | [5 empty] | 0
Twist drill 8 mm |  | Pce |  | 2 | [5 empty] | 0
Twist wood drill 21 mm for electric screwdrivers | 21 mm | Pce |  | 2 | [5 empty] | 0
HDPE / PVC pipe Cutter |  | Pce |  | 1 | [5 empty] | 0
Combination spanners set (8 mm to 20 mm or more) |  | Pce |  | 1 | [5 empty] | 0
Bucket (Plastic) |  | Pce |  | 25 | [5 empty] | 0
Sebal stone ສະກັດແປ |  | Pce |  | 2 | [5 empty] | 0
Finishing foam /ຟອງນໍ້າ |  | Pce |  | 15 | [5 empty] | 0
Survey spray color red |  | Pce |  | 2 | [5 empty] | 0
Work gloves (cut-resistant for pipe handling) |  | Pce |  | 10 | [5 empty] | 0
Cleaning cloths |  | Pce |  | 20 | [5 empty] | 0
TOTAL | [8 empty] | 0
TOTAL PRICE FOR MATERIAL | [8 empty] | 0
TRANSPORT TO THE VILLAGE - Ban Noy (21°43'51.6"N 101°51'59.0"E), Boun Neua district, Phongsaly Province.
TOTAL PRICE IN LAO KIP | [8 empty] | 0
Note on A19: msi device: After removal of the formwork, the wood is kept to build a safety fence around the spring catchment.
Note on A20: msi device: After removal of the formwork, the wood is kept to build a safety fence around the spring catchment.
Note on A21: msi device: After removal of the formwork, the wood is kept to build a safety fence around the spring catchment.
Note on A22: msi device: After removal of the formwork, the wood is kept to build a safety fence around the spring catchment.
Note on G93: msi device: 3 public places and 2 spare parts.

## detail_pipe_cut-outs_Noy
|  |  | Water catchment | Upper Water tank 4.6 x 3.4 x 2.4
Product designation | Unit | Required length | Qty | Qty | Sub.total | Total (m) | Letter | Additionnal information
GSP 1" | Meter | 0.5 |  |  | 2 | 1 | Y | Cutting and male threading to be carried out before the material is shipped. - Mention the letter on the pipe.
GSP - 1.1/4" | Meter | 0.5 |  | 2 | 2 | 1 | X
GSP - 2" | Meter | 0.3 |  | 1 | 2 | 0.6 | A
GSP - 2" | Meter | 0.5 | 4 | 10 | 16 | 8 | B
GSP - 2" | Meter | 0.8 |  | 2 | 2 | 1.6 | C
GSP - 2" | Meter | 0.9 |  | 1 | 1 | 0.9 | D
GSP - 2" | Meter | 1.5 |  |  |  |  | E
GSP - 2" | Meter | 2 |  | 2 | 3 | 6 | F
GSP - 2" | Meter | 2.2 |  | 1 | 2 | 4.4 | G
Sub.Total |  |  | 2 | 17 | 26 | 21.5